## Slide 1: HPV in SoftMolecular
Michelle Bent-Morgan
Marcrese McDaniel
Vitalii Stadnyk, PhD.

## Slide 2: Outline
What is HPV?
  Importance of testing
    FDA approved platforms
      Configuration in SoftMolecular
        Process and Reporting in SoftMolecular

## Slide 3: What is HPV?
  HPV is a small, nonenveloped, double-stranded DNA virus
  genome Size of approximately 8,000 nucleotides.
  more than 118 different types of HPV
    approximately 40 different HPVs that can infect the human anogenital mucosa

## Slide 4: Types of HPV:
data suggests that 14 of these types are most clinically significant

## Slide 6: Clinical significance and importance of HPV testing
yearly, over 27,000 women and men are affected by a cancer caused by HPV

## Slide 7: Clinical significance and importance of HPV testing
According to CDC data, Persistent HPV infection can cause cervical and other cancers
*Note: Many of these cancers may be related to tobacco and alcohol use

## Slide 8: FDA Approved (IVD) platforms used for HPV testing

## Slide 9: Cobas 4800 HPV test is a high-risk–HPV DNA-based PCR screening assay with capability for concurrent genotyping for HPV 16 and HPV 18 by real-time PCR.

## Slide 10: Nucleic acid (DNA) testing by PCR has become a standard, noninvasive method for determining the presence of a cervical HPV infection. Proper implementation of nucleic acid testing for HPV may 1) increase the sensitivity of cervical cancer screening programs by detecting high-risk lesions earlier in women 30 years and older with normal cytology and 2) reduce the need for unnecessary colposcopy and treatment in patients 21 and older with cytology results showing atypical squamous cells of undetermined significance (ASC-US).

## Slide 11
Nucleic acid (DNA) testing by PCR has become a standard, noninvasive method for determining the presence of a cervical HPV infection. Proper implementation of nucleic acid testing for HPV may
  increase the sensitivity of cervical cancer screening programs by detecting high-risk lesions earlier in women 30 years and older with normal cytology and
  reduce the need for unnecessary colposcopy and treatment in patients 21 and older with cytology results showing atypical squamous cells of undetermined significance (ASC-US).

## Slide 12: Setting up HPV in SoftMolecular 1. Need action to create protocol 2. Create protocol 3. Create report template 4. Create test 5. Create tasklist

## Slide 13: We need an Aliquot action in our protocol

## Slide 15
Protocol
Creation of Specimen Protocol

## Slide 18: Create report template Create test.

## Slide 19: Test Specific Report Template

## Slide 20
An integrated report Template

## Slide 21
Test Definition

## Slide 22
Actions to perform on test

## Slide 23
List of acceptable specimens

## Slide 24
Creation of Result fields

## Slide 25
Performing department and workstation need for DMI and SoftTQC

## Slide 26
Result QC to show abnormal flagging of result on tasklist

## Slide 27
Test Run Rules need for DMI configuration to send results back to Softmolecular

## Slide 28
Test Reporting Rules for defaulting Interpretation on tasklist

## Slide 29
Creation of Tasklist template

## Slide 31
Test Setup showing Tasklist linkage for Automatic DMI tasklist build

## Slide 32: Where do we get our samples
From Softlab, Directly entered into SoftMolecular or PathDXP as a reflex test. Samples can come thru Specimen receiving worklist, Dept Received or directly in Specimen Prep based on setup and integration

## Slide 33
Reflex from SoftPathDX

## Slide 35: Specimen Processing in Softmolecular
In toolbar, click Processing then Specimen Preparation

## Slide 36
Search by Test name for list of all orders pending for that test
Or search by Order # if its one order only or Protocols

## Slide 38: Processing in Cobas interface with DMI and SoftMolecular.
Load the Cobas by scanning the Specimen bar code
Once the Cobas instrument completes running the test
After the instrument finishes running click send results to LIS in the instrument

## Slide 39
Open SoftMolecular main screen
In toolbar, click Result then Tasklist

## Slide 40
Search by Built Tasklist search and use the Date range as search criteria (RUN DATE)

## Slide 41
Select Tasklist# and External Batch # that matches your run

## Slide 42: Results Downloaded by DMI to SoftMolecular

## Slide 43
Results from Instrument are downloaded and base on RBS setup, rules are set to run to default interpretation

## Slide 44
Once the tasklist open, Review imported results (Data received symbol)
Review QC Results
Check the completed box to complete Test Manual Review Action and Click Save
Click Edit, Detected Results will be highlighted in Red.

## Slide 45
Control Results Downloaded by DMI to SoftTQC

## Slide 46: Test Specific Report

## Slide 47: An Integrated Report Showing Molecular and Cytology Results

## Slide 49: Reference
Human Papillomavirus (HPV) and Cancer. (2016). Retrieved April 01, 2016, from http://www.cdc.gov/cancer/hpv/index.htm
MLO Staff. (n.d.). Retrieved April 01, 2016, from http://www.mlo-online.com/the-five-fda-approved-hpv-assays.php
cobas® 4800 System . (n.d.). Retrieved March 18, 2016, from http://molecular.roche.com/instruments/Pages/cobas4800System.aspx