## Slide 1: The Pathologist Review Process by Gerald M. Davis BS, MT(ASCP), MPH jdavis@med.umich.edu University of Michigan Hospitals Department of Hematopathology

## Slide 2: UMMC

## Slide 3: The Hematology Laboratory
Sysmex XE 5000
CBC
Automated differential – 6 part
NRBCs
Platelet count
Reticulocyte count
Body fluid counts
Jan 1, 2016 – April 1, 2016
1797/day (including week-ends)
63% case auto-validate
26% partial auto-validate
14% need a slide review

## Slide 4: CBCD – CBC and Differential
  WAM
  Sysmex messages - Flags
  Used-defined rules – OP Alerts
  Slide is made

## Slide 5: Slide WBC differential
Correlate and confirm CBC findings
Automated differential vs. the Slide differential
Scan for specific findings
  Misclassification of cells by the instrument
  Abnormal cells – blasts, plasma cells,
    lymphoma cells, etc.
  Platelet clumps
  Inclusions

## Slide 6: We Need What?...Path Review Criteria?

## Slide 7: Objectives A Stepwise approach to….
What ducks do I need to get in a row?
How do I get from where I am now to where I want to be?
What are the pieces that I need?
How do they fit together?
What are the advantages?
What metric do I use to measure the advantages?
Is this really all there is? Where to go from here…

## Slide 8: What should it be like?.....
Would it be something you can use with a microscope?
What do you need to have happen?
Should it be difficult or easy to use?
Who is going to benefit from this process?
Will it be seamless or painful?

## Slide 9: It Needs To Be All Of That…
The “Pathologist Review interpretation” needs to be displayed with ordered test in the HIS.
Temporary work queues for Pathologists
One order number for everything
Embargo enabled 14 day delay (including mandiff blasts)
System Lean
  No Pathologist Phantom directing user to see the CBCD test with same collection date and time.
  No billing or PREVD phantom tests required
  Improved and more clear display of Path Rev
Zero impact on staff (processing or training)

## Slide 10: What if we …..
Used the absorption function of Soft to absorb the CBCD into CBCPR (CBCD with PR)
Streamline specimen processing
Lessen the impact of change control on staff
Commitment to continual improvement
  Increase communication internally
  Work with Soft and nurture the relationship
    Task follow up and tracking
    SCR (Software Change Request)

## Slide 11: UM Pathologist Review Criteria

## Slide 12: Step 1: Add The Pathologist ReviewComponent

## Slide 13: Here is the Path Rev Workflow

## Slide 14: Step 2: Ordering A Path Rev On The Fly in WAM or Resulting Worlist Needs to be Seamless…

## Slide 15: Seamless In Resulting Worklist Too…

## Slide 16: What Just Happened?...
1. CBCPR was reflexed and CBCD was canned

## Slide 17: Step3: Build RBS Rule To Reflex “Path Rev” Test

## Slide 18: Step 4: Build Canned Message & RBS Rule To Get Those Cell Lines Marked “ + ” For Path Rev?
Check F41 in Test Setup for individual test

## Slide 19: WAM Path Rev In Resulting Worklist…

## Slide 20: …Or…Use A Template For Reflexing Path Rev Test

## Slide 21: Step 5: How To Qualify Case To “Review Worklist”

## Slide 22: Step 6: Final Review

## Slide 23: Pathologist Interpretation…

## Slide 24: HIS – This was then…..

## Slide 25: This is now…….(No Phantom)

## Slide 26: Where else are you going to get the CBC, Diff, Abs. Cts., and Path Rev Interp on the same screen ?

## Slide 27: Pathologist Queues ?
1. You need to manually enter as phantom test …or…. 2. Make a rule that reflexes the phantom (result =Pathologist)

## Slide 28: Pathologist Personal Queue?

## Slide 29: Managing the Path Rev Process

## Slide 30: Tweaking The Process
We changed the Path Rev criteria…..
  There were Path Review changes to
    MCV
    fluid crystals
    NRBCs
    apheresis patients not reviewed for increased WBCs and blasts, etc.

## Slide 31: What do you mean “You want a peripheral smear”
We disabled the ability to order the Path Review as a standing order
The Hem lab staff directs the MD phone calls requesting a Path Rev, to the trainee who triages for a valid reason for the request
At the HIS level we offered the tech an alternative to the Path Rev that ensures a peripheral smear is scanned

## Slide 32: What Can Tweaking Do For You?

## Slide 33: Protecting the RED line…

## Slide 34: SCR Hot Items Coming….
Assign & track Path Rev cases
  Defaulting Pathologist assignment
  Dynamic automatic status updating per case
  Sorting per Pathologist and/or per case
  Mechanism for case transfer
Review Worklist screen modifications
SCR 09747
Revised report modifications (auto template)

## Slide 35: Thank you.
Thank you.