Items listed are intended as a quick overview of features and functionality where differences exist between SoftLabMic 4.0 and 4.5 versions. This document is not considered a full validation checklist for all SCC technologies.

|  |  |  |  |
| --- | --- | --- | --- |
| Topic | Date Reviewed | Topic | Date Reviewed |
|  |  |  |  |
| 4.0🡪4.5 Conversion check |  | Pending Logs |  |
| Ad hoc management reports (pending, TAT, etc.) |  | Result Server (reevaluate results) |  |
| Age calculation and round\_age |  | Reference Lab – new setup – all need separate location |  |
| Calculations – full validation |  | Reactivate MRN (unmerge) |  |
| Call list configuration and use (Lab/ Micro) |  | Robotic/Automation lines (Validate!) |  |
| Clean up rules (newshift) |  | Rule Based system (new rules/features) |  |
| Clients – Extramural vs. Outreach |  | Security Management |  |
| Common container setup |  | Specimen Model (volume allocation and specimen assignment) |  |
| Copy Setup Tool |  | Specimen Attributes vs. Prompt Test |  |
| Default Results differences |  | Specimen Tracking |  |
| Downtime scenarios/labels |  | SoftID setup and testing |  |
| Error logs (ensure all exist) |  | Soft Total QC setup and testing |  |
| EHR 2014 (MU2) field additions |  | SoftBill+/SoftAR testing |  |
| ELR setup (Lab and Mic, reflex, etc) |  | Test Setup changes (age ranges, new fields, GIS integration) |  |
| GIS Technology Integration |  | Tag removal/replaced with DB fields |  |
| HIS Label Printing (replace Translation table) |  | Test Catalog setup (OLCC/Env selection) |  |
| Hosparams vs. Settings/Definitions |  | Web Accessioning |  |
| Internal Comments (no ? anymore) |  |  |  |
| Instrument Interfaces – conversion and new setup |  |  |  |
| Loc/Dept/Wkstn setup changes |  |  |  |
| Micro: Rule review |  |  |  |
| Micro: Autoresulting worklist |  |  |  |
| Micro Epi reports |  |  |  |
| Micro: significant and critical flagging |  |  |  |
| Micro: Call procedure |  |  |  |
| Micro: Delta checking by SDR |  |  |  |
| Micro: gram stain/culture cancel policy |  |  |  |
| Micro: Integrated Epi report (Lab/Mic/GIS) |  |  |  |
| MOM basics |  |  |  |
| Multisite table (OLCC) |  |  |  |
| Path Review/Review Worklist |  |  |  |