## Slide 1: Overcoming The Hurdles Of EQ
By
Tom Larson
SoftReports Implementation Support Specialist
And
Kim Schroeder
SoftReports Team Lead Implementation/Support

## Slide 2: Objectives
Introduce you to EQ (EQ, Easy Query, EQ SQL Generator)
We will show you how to get to the EQ Application
You will learn how to Create and Edit a new report
We will demonstrate how to add Criteria and Parameters
We will show you how to Run and Print Reports
You will learn how to customize the Screen and Form
We will demonstrate how setup your report to export to Excel
We will review some common Issues/Errors that you might encounter and give you suggestions on how to resolve them

## Slide 3: What is EQ?
EQ allows it’s users the ability to put together quick and efficient reports with minimal effort.
What modules use EQ
  Lab/Mic
  BB
  AP (Path)
  AR
  Donor
  SEC
  QC

## Slide 4: Loading EQ From Lab 4.0.7
This presentation is being done on an Oracle environment. There are some slight differences in functionality when using DBVista vs Oracle.

## Slide 5: Loading EQ From Mic ASCII

## Slide 6: Loading EQ From BB ASCII

## Slide 7: Welcome To EQ

## Slide 8: This presentation will provide instructions first, followed by screenshots to represent the instructions

## Slide 9: How to Create a new report….

## Slide 10: How to Create a new report….
Press N (for New) or navigate to New using your arrow keys on your keyboard until New is highlighted Blue and press Enter
After you have selected New, type in the desired name of your report and press Enter
  Proper report naming – No Spaces! Instead use __ (New_Report)
  Use of Letters (both capital and lowercase), numbers, and only __ are allowed
You should now be in Edit mode, at this point lets Save by pressing F12 and press Enter for the highlighted Save option

## Slide 11: How to Create a new report….Continued

## Slide 12: How to Create a new report….Continued

## Slide 13: How to Create a new report….Continued

## Slide 14: How to Edit a new report….

## Slide 15: How to Edit a new report…
Adding fields to a report
  Press E for Edit, or navigate to Edit using your arrow keys on your keyboard until Edit is highlighted Blue and press Enter
  Press F9 to begin adding fields
    Using existing report(s) fields
    Using the database
  Select From database
  Select the database you wish to use… In our example we will use hosplab
  Select the table you wish to use… In our example we will use lab_active
  Select the fields you wish to use… In our example we will use acord, aodate, aotime, acward, acdepot, Panic_low, Panic_high, Abnormal_low, Abnormal_high
    Notice how a * is placed next to the field(s) you select and they are highlighted Blue
  After you have selected your desired fields, Press F12 to save your selection and back out to the previous screen. You will need to do this 3 times.
  If you make a mistake, you can press F1 to back out without saving any selections
    Alternatively you can manually type in your fields instead of using the database
Please note that this is the oracle table name. DBVista does not contain the lab_

## Slide 16: How to Edit a new report …Continued
Attempt to SAVE! Press F12 to save
  A blue screen should appear that lets you know that you have added/deleted fields and that the Form should be edited to match the changes
Editing the default Form
  In edit mode, Press F6
    This screen allows you to edit the View Path, the Form, and the Screen
  Navigate down to Form
  Press Enter to view the current Form
    Notice how it is blank and has no fields shown on it
  Back out with F1
  Press F7 to Create Default Form
  Press Enter to view the updated Form
    Notice how it now shows all your fields in the order that you selected them
  Press F12 two times to save the edits and return to the edit screen
Now SAVE! Press F12 to save
  If you successfully saved, EQ has taken you out of Edit mode

## Slide 17: How to Edit a new report …Continued

## Slide 18: How to Edit a new report …Continued

## Slide 19: How to Edit a new report…Continued

## Slide 20: How to Edit a new report…Continued

## Slide 21: How to Edit a new report…Continued

## Slide 22: How to Edit a new report…Continued

## Slide 23: How to Edit a new report…Continued

## Slide 24: How to Edit a new report…Continued

## Slide 25: How to Edit a new report…Continued

## Slide 26: How to Edit a new report…Continued

## Slide 27: How to Edit a new report…Continued

## Slide 28: How to Edit a new report…Continued

## Slide 29: How to Edit a new report…Continued

## Slide 30: How to Edit a new report…Continued

## Slide 31: How to Edit a new report…Continued

## Slide 32: How to Edit a new report…Continued

## Slide 33: How to Edit a new report…Continued

## Slide 34: How to Edit a new report…Continued

## Slide 35: How to Edit a new report…Continued
DON’T RUN IT YET!
At this point you have successfully edited the report. However,
Running a report like this could cause issues because there currently
Is no criteria for the query to search by, so it will attempt to pull all
The information that applies to your request. As you can imagine, the
Query could be working quite a long time to pull all your Order #’s,
and that will cause the query to hog all your systems resources.
So lets add some CRITERIA and PARAMETERS to search by!

## Slide 36: How to add Criteria and Parameters…

## Slide 37: How to add Criteria and Parameters
In order to add criteria and parameters we will first need to evaluate how we are building this report. We are going to setup a report that will gather information based on a specific Order Range. So what we need now is the ability to search based on a desired Order Range.
Lets start by adding in another acord field (acord = order ID)
  To do this we will go into Edit mode and make sure the first field is highlighted
  Then using the menu items at the bottom we will use F7 (F7 = Ins)
    This will create a blank field between your other fields
  Then type in acord and use the -> arrow key or press Enter to accept it
  Now that we have two acord fields, navigate to the first Condition row using your keyboard
  We will now begin adding conditions and parameters to the report

## Slide 38: How to add Criteria and Parameters
  Begin typing “ >= [ORDSFROM] “ for the first acord row
  Next press Enter and your cursor will appear under the a/o column
  Right now we have one condition however it is not a complete range so we will want to add a second condition so we can accurately look for information in a specific range.
  In the a/o column type “ and “ and then press Enter four times
  You should now be the Condition of the second acord row
  Begin typing “ <= [ORDSTOTO] “ for the first acord row
  You have just created a standard Between statement that allows the user to run a report to get information between an order range

## Slide 39: How to add Criteria and Parameters
Attempt to SAVE! Press F12 to save
  A blue screen should appear that lets you know that you have added/deleted fields and that the Form should be edited to match the changes
Editing the default Screen
  In edit mode, Press F6
    This screen allows you to edit the View Path, the Form, and the Screen
  Navigate down to Screen
  Press Enter to view the current Screen
    Notice how it only displays the report name
  Back out with F1
  Press F7 to Create Default Screen
  Press Enter to view the updated Screen
    Notice how it now shows all your parameters in the order that you have them on the report
  Press F12 two times to save the edits and return to the edit screen
Now SAVE! Press F12 to save
  If you successfully saved, EQ has taken you out of Edit mode

## Slide 40: How to add Criteria and Parameters

## Slide 41: How to add Criteria and Parameters

## Slide 42: How to add Criteria and Parameters

## Slide 43: How to add Criteria and Parameters

## Slide 44: How to add Criteria and Parameters

## Slide 45: How to add Criteria and Parameters

## Slide 46: How to add Criteria and Parameters

## Slide 47: How to add Criteria and Parameters

## Slide 48: How to add Criteria and Parameters

## Slide 49: How to add Criteria and Parameters

## Slide 50: How to Run and Print a report…

## Slide 51: How to Run and Print a report
To run the report, press P or navigate to Print with the arrow keys on your keyboard
Press Enter, here you will see the parameter Screen and its where you will enter any search parameters or conditions the query will search by… in our example we will use an Order ID number range
After you have entered your desired Order ID range, press Enter
The report will run and return data (if data is available)
From here you can use the menu items at the bottom to Search for a specific order number or data, navigate through the report, and Print the report
  All these options are available with the use of the hotkeys in blue

## Slide 52: How to Run and Print a report
Press P to print this report
  You can either select a printer available on the list or select Save, file to name your file to pull it up in lab later. You can use View Existing Reports to find it
  In our example we will use Save, file and name the file April_04_13
  Press Enter to accept the name and press Y for make this file permanent
    Please note that this doesn’t actually make the file permanent, it will be erased like every other file after your major weekly restart
Now lets try to find our report in Lab using View Existing Reports
  In LAB, open View Existing Reports and type in the name of your report and press Find
  After the report is found, click View to open it and your done!

## Slide 53: How to Run and Print a report…Continued

## Slide 54: How to Run and Print a report…Continued

## Slide 55: How to Run and Print a report…Continued

## Slide 56: How to Run and Print a report…Continued

## Slide 57: How to Run and Print a report…Continued

## Slide 58: How to Run and Print a report…Continued

## Slide 59: How to Run and Print a report…Continued

## Slide 60: How to Run and Print a report…Continued

## Slide 61: How to Run and Print a report…Continued

## Slide 62: How to Run and Print a report…Continued

## Slide 63: How to customize the Screen…

## Slide 64: How to customize the Screen…
To customize the Screen, you must first be in Edit mode
Once in Edit mode, press F6 and navigate down to the Screen
Press Enter, and observe how you would like to change the display
  All navigation is done with your arrow keys.
  If you remember from running the report, the display is slightly off center. When modifying the Screen, you will need to adjust its position accordingly. This can be done by simply backspacing/deleting rows and spaces till the items are in the desired position. You can also change any of the text to display the exact wording of what you want.
The @ symbol is used for your parameters. When editing or adding new parameters, always make sure to use @ at the beginning of the parameter(s) and always type the parameter name exactly how you typed it on the report.

## Slide 65: How to customize the Screen…Continued

## Slide 66: How to customize the Screen…Continued

## Slide 67: How to customize the Screen…Continued

## Slide 68: How to customize the Screen…Continued

## Slide 69: How to customize the Screen…Continued

## Slide 70: How to customize the Screen…Continued

## Slide 71: How to customize the Screen…Continued

## Slide 72: How to customize the Screen…Continued

## Slide 73: How to customize the Screen…Continued

## Slide 74: How to customize the Form…

## Slide 75: How to customize the Form…
To customize the Form, you must first be in Edit mode
Once in Edit mode, press F6 and navigate down to the Form
Press Enter, and observe how you would like to change the display
  All navigation is done with your arrow keys.
  When modifying the Form, you can adjust the position of headers, fields, and the detail sections. This can be done by simply backspacing/deleting rows and spaces till the items are in the desired position. You can also change any of the text to display the exact wording of what you want.
The @ symbol is used for your field details. When editing or adding new field(s), always make sure to use @ at the beginning of the field(s) and always type the field(s) name exactly how you typed it on the report.

## Slide 76: How to customize the Form…Continued
While editing your Form you will notice that sometimes you want to squeeze all your fields into a small area. Sometimes the field names make that difficult because they are too long. Well there is a solution to this issue.
  You can reference fields by their ordinal position (the order it is in on the report) instead of its name. For example acord is field # 1. So to display that on the report we will type it as such: @1
  Ordinal positions skip duplicate fields like our acord #1 and acord #2
  For our example, we will use the ordinal position of Panic_low, Panic_high, Abnormal_low and Abnormal_high due to their excessively long field name
    Remember that Ordinal position ignores duplicate fields
  Panic_low = @6, Panic_high = @7, Abnormal_low = @8 and Abnormal_high = @9
  After your done with your changes, Always SAVE!

## Slide 77: How to customize the Screen…Continued

## Slide 78: How to Edit a new report…Continued

## Slide 79: How to customize the Form…Continued

## Slide 80: How to customize the Form…Continued

## Slide 81: How to customize the Form…Continued

## Slide 82: How to customize the Form…Continued
Ordinal Position #1
No Ordinal Position
Because it’s a duplicate
Ordinal Position #6 even though its actual position is #7, this is because of the duplicate acord

## Slide 83: How to Edit a new report…Continued

## Slide 84: How to customize the Form…Continued

## Slide 85: How to customize the Form…Continued

## Slide 86: How to customize the Form…Continued

## Slide 87: How to export to Excel...

## Slide 88: How to export to Excel...
To export an EQ report to excel, there are a few steps to take first to prepare your EQ to be exportable.
The first thing you need to do is follow the steps to customize the Output Form as this requires us to remove all excess headers and leave the Output Form with just the initial headers and the fields.
Next you will need to add a delimiters at the end of every field but with enough space that the entire field will display. Generally you put the delimiters at the end of the NEXT field to give the space needed.
Delimiters can be commas, semicolons, periods, however I generally use semicolons.
After that you need to save the reports updates and follow the Run/Print steps and SAVE the file to be viewable in LAB.
Once in LAB, use view existing report to view the report and then proceed to click, File > Export to Excel.
Next set the delimiter to use your specific delimiter(s) and then click Export.

## Slide 89: How to export to Excel...Continued

## Slide 90: How to Edit a new report…Continued

## Slide 91: How to export to Excel...Continued

## Slide 92: How to export to Excel...Continued

## Slide 93: How to customize the Form…Continued

## Slide 94: How to customize the Screen…Continued

## Slide 95: How to export to Excel...Continued

## Slide 96: How to export to Excel...Continued

## Slide 97: How to export to Excel...Continued

## Slide 98: How to Run and Print a report…Continued

## Slide 99: How to export to Excel...Continued

## Slide 100: Common Issues/Errors You might encounter..

## Slide 101: Common Issues/Errors
When receiving an error “SQL command not properly ended,” this usually means that a condition operator is missing such as ‘And’, ‘Or’ and ‘Con’ or that your missing a beginning or end ( )
To correct an issue like this, first identify the potential location(s) of where the error is and then simple correct it and re-save the report.
The next five screenshots represent this issue and how to identify and correct it.

## Slide 102: Common Issues/Errors

## Slide 103: Common Issues/Errors
Missing ‘and’

## Slide 104: Common Issues/Errors

## Slide 105: Common Issues/Errors

## Slide 106: Common Issues/Errors

## Slide 107: Common Issues/Errors
When receiving an error “table or view does not exist,” this usually means that the view path needs to be updated, or the database needs to be added for one of fields being used, or the database needs to be converted from DBVista to Oracle.
To correct an issue like this, put in a support task and make sure the product is RPT (NOT LAB) and mention the error as well as the fact that you are using EQ (EQ, Easy Query, etc..)

## Slide 108: Common Issues/Errors

## Slide 109: Common Issues/Errors
When receiving an error “invalid identifier,” this usually means that the field being used does not exist in the database or it’s a custom field that a user created that is not referencing a proper field.
To correct an issue like this, you can either put in a support task and send it to N/REPORTS and mention the error as well as the fact that you are using EQ (EQ, Easy Query, etc..) or investigate the field on your report and check what field is being referenced, if any, and then identify if this field is still in the database by using the Field menu option outside of Edit mode.

## Slide 110: Common Issues/Errors

## Slide 111: Common Issues/Errors

## Slide 112: Common Issues/Errors

## Slide 113: Any Questions?

## Slide 114: Common EQ Hotkeys
Universal Hotkeys
F1 – Cancel Action or to go back to the previous screen
F12 – Save Action or Save Changes and navigate back to previous pages
When in Edit mode in EQ
Field Details – F5
Report Details (More) – F6
F8 – Delete Field
F9 – Select Field from DB
Ctrl/N – Navigate between the fields section and Aggregate section