## Slide 1: SoftBank Version 25.5 New Features
Presented By:
Laurie Sapp
Blood Services Product Analyst

## Slide 2: Software innovation, like almost every other kind of innovation, requires the ability to collaborate and share ideas with other people, and to sit down and talk with customers and get their feedback and understand their needs. ~Bill Gates

## Slide 3: SoftBank Version 25.5 New Features
Describe some of the new features available
Benefits of the new features
Consider features for upgrade

## Slide 4: Expired QC Exception

## Slide 5: Expired QC Reagent-Exception

## Slide 6: Expired QC Reagent-Exception
The system can be setup to generate an exception for supervisor review when expired QC reagents are used.
Notes: Based on parameter: hos_QCResReagExp

## Slide 7: Unit Expiration Date-Issue confirmation screen.

## Slide 8: Unit Expiration Date-Issue/Emergency Issue
Notes: Product Orders Service>Issue and Emergency Issue- The unit expiration date can be displayed instead of the Product Name based on parameter setting hos_IssConfirmdispExp

## Slide 9: Patient>Transfusion Options-Unit ABO/Rh

## Slide 10: Unit ABO/Rh
Notes: Unit ABO/Rh added in Patient>Transfusion options, Patient>Display>Transfusion, and Inventory>Product Orders Service>Presumed Transfused

## Slide 11: ABO/Rh Phase Report

## Slide 12: ABO/Rh Phase Report
New report added , Control +D
Parameter driven
Adds the ability to see if ABO/Rh phases are increases or decreasing in strength.

## Slide 13: Setup>Test>Test Phase
Notes: New parameter-hos_ABORh_phasereport set to “Y” for phase report

## Slide 14: Control+D, New function key

## Slide 15: ABO/Rh Phase Report

## Slide 16: Result Reporting-New elements for transfusion administration

## Slide 17: Transfusion Administration Elements
The following information can be sent to HIS using result reporting:
Unit Expiration
Transfused Volume
Transfusion Start Time
Transfusion Stop Time

## Slide 18: Interface Setup-BBRR
Resulting Reporting with Lab 4.5-the transfusion administration elements are configured by the programming team.

## Slide 19: Interface Trace Example
Trace example from Blood Bank Result Reporting (BBRR)

## Slide 20: Result Reporting-Electronic Crossmatch Eligibility

## Slide 21: Electronic Crossmatch Eligibility
New feature-send Electronic Crossmatch eligibility to HIS
Provides physicians and nursing staff information that the patient is eligible for electronic crossmatch, red cell product can be made available quickly.

## Slide 22: Setup>Tests>Group Tests
New field added to define the tests to determine eligibility
Can be defined for basic or complex tests
Five character unique code can be entered in the Elxm Eligibility field

## Slide 23: Result Reporting
CODE1 was defined as the Elxm eligibility code.
Note: This feature is available using new result reporting in Lab 4.5

## Slide 24: Phase results and electronic crossmatch

## Slide 25: Phase results and electronic crossmatch
When typing discrepancies exist such as mixed field results, this new functionality will automatically prevent electronic crossmatch.
The FDA Guidance for Electronic Crossmatch mentions that mixed field reactivity, missing results, or change in blood type compatibility testing should be performed with serological crossmatch methods.
Setup and parameter driven

## Slide 26: Setup>Tests>Test Phase Groups
New field-Acceptable Flag
Determines if this phase result is acceptable for electronic crossmatch.

## Slide 27: Setup>Tests>Group
When entering a phase that is not acceptable for electronic crossmatch on the interpretation table the system displays a warning.

## Slide 28: Inventory>Product Orders Service>Select
In Inventory>Product Orders Service>Select the system displays a warning letting the user know why the patient/order does not qualify for electronic crossmatch.
Notes: New parameter-hos_Tpacceptelxm determines if this functionality is used.

## Slide 29: Site Specific Reagents

## Slide 30: Site Specific Reagents
Ability to define reagents per site
Adds flexibility for multi-site facilities
New feature is setup driven

## Slide 31: Setup>Tests>Reagents
Setup>Tests>Reagents to define site for selected reagents
Ctrl+R Sites -new function key

## Slide 32: Setup>Tests>Reagents
Drop down displayed to select site

## Slide 33: Quality Control>Reagents>Display
A1c is not displayed in the drop down list, defined in Setup for Site B.
Notes: Paramater hos_InvSite needs to be set.

## Slide 34: Site Specific Tests

## Slide 35: Site Specific Tests
Ability to define patient tests per site
Adds flexibility for multi-site facilities
New feature is driven by test/workstation setup in SoftLab

## Slide 36: Test Setup in SoftLab (Site A)
Test setup in SoftLab-TS test for Site A

## Slide 37: Test Setup in SoftLab (Site B)
Test setup in SoftLab-TS-G test for Site B

## Slide 38: Order Entry (Site A)
Only the Type and Screen test (TS) defined for Site A displays in the drop drown list of tests

## Slide 39: Questions?

## Slide 40: Software is a great combination between artistry and engineering. ~Bill Gates