## Slide 1: Don’t Touch This!
A quick guide of SoftLab setup files not to edit after go-LIVE.

## Slide 2: Editing Rules to follow in LIVE
Don’t Delete ANYTHING!!!
If it has an expiration date,
do NOT Inactivate!
If it’s on a report, BEWARE!

## Slide 3: NEVER edit Canned Messages

## Slide 4: Expire Canned Messages

## Slide 5: Don’t Touch these Test Maintenance fields

## Slide 6: Don’t Touch Test Type
Alphanumeric Numeric
May have just flagged old results as absurd!
Numeric Alphanumeric you have just deleted Ranges and Precision.

## Slide 7: Don’t Touch Workstations
NEVER edit workstation field!
Inactivate, Add New, or Redirect Environments instead.

## Slide 8: Spec Container
You CAN change the spec container, but all pending tests with the old specimen must be cancelled and re-ordered.

## Slide 9
Calculations
Editing Calculations improperly will change historical results!
Refer to the Design II manual for instructions on how to expire them!

## Slide 10: Post Result RBS Rules
Expire the rule or use the same calculation expiration procedure from test setup

## Slide 11
Age Ranges and Units
Age Ranges should be expired, NOT changed!
Units can only be changed in the same edit session that ALL ranges are expired.

## Slide 12: Don’t Touch Values Tab Flagging
If you are using the “Abn?” field, do NOT change the “Value” or “Prefix” field in that row.

## Slide 13: Messages in Miscellaneous Tab
Don’t touch this!!!
Expire the Canned Messages instead

## Slide 14
Group Tests
Never delete individual components of Group Tests!
Adding new tests and rearranging tests is OK!

## Slide 15
Test Setup Search
The Test Setup Search allows you to search for many setup files that may be affected upon editing of a test!

## Slide 16: Multisite
ALL multisite tables can be edited without affecting historical values

## Slide 17: Report Setups
Report Setups including Query and Reports Formats, and Tags can be edited without affecting Hisotrical Data.

## Slide 18: Questions? nicholas@softcomputer.com